## Sheet1
Installation and Commissioning Report (for ICT)
Project Name: |  | Supply, Installation, Testing, Commissioning, Operations & Maintenance of City Surveillance & Traffic Management System with Command & Control Centre in S.A.S. Nagar City, Punjab.
Customer Name: |  | Punjab Police Housing Corporation Ltd., SAS Nagar, Punjab | Location Name (As per survey report): |  |  | Ajeet Samachar Junction
Name of Agency: |  | Technosys Integrated Solutions Pvt Ltd, Karol Bagh, Delhi | Location Coordinates: |  |  | 30.696742,76.690798
City/ District: |  | SAS Nagar, Punjab | Date of Installation & Commissioning (dd/mm/yyyy): |  |  | 2024-10-05
Work Order No.: |  | 175/PPHC/Elect. | MPLS Connectivity (Available/Not Available): |  |  | Available
Work Order Date: |  | 2024-02-23 | Power Connection (Available/Not Available): |  |  | Available
Location Type (RLVD/SVD/Entry-Exit): |  | RLVD
S. No. | Description |  | Unit | Installed Quantity | Make / Model | Serial Number / MAC Address | Unit Rate | Total Amount | 10% Value against Installation, Commissioning & Testing | 20% Value against Final acceptance test by the deptt. and Go-Live of the Project as per the definition mentioned in RFP. | Remark | Remark
1 | SITC of Outdoor ANPR 2MP Box Camera with all accessories and external IR illuminator |  | Each | 10 | VIVOTEK - IP9165-LPC-V2 | 0002D1B29289 0002D1B29269 0002D1B1D218 0002D1B1D214 0002D1B1D213 0002D1B1D215 0002D1B1D219 0002D1B1D21A 0002D1B1D21B 0002D1B1D21C
2 | SITC of Outdoor ANPR 2MP Bullet/ Box Camera with all accessories and external IR illuminator (For SVD) |  | Each | 0 | -- | --
3 | SITC of Outdoor RLVD 2MP Bullet/ Box Camera with all accessories |  | Each | 4 | VIVOTEK - IB9367-EHT-V2 | 0002D1B0D4CE 0002D1B0D4E4 0002D1B0D4CD 0002D1B0D4CF
4 | SITC of RADAR/ Video Based Speed Violation Detection System for both sides i.e. To and Fro for 3 or 4 lane road including Traffic Management software with licences suitable for achieving desired accuracy during day/ night and in all weather conditions, complete with following items:- - RADAR-as required - PLB/ HDPE/ Flexible pipes from RADAR/ cameras to Main Outdoor Cabinet box (At junctions) - Armoured Cat-6 cables, Armoured Optical Fibre Cable, Power cabling from RADAR/ cameras to Main Outdoor Cabinet box, underground/ on surface (At junctions), - Termination boxes, - Managed L2 Network switches (Industrial grade), Passive items i.e. LIUs, Pigtails, Patch cords on Poles. - Any other item, if required to made the system operational to achieve the desired functionality. Note: ITMS Server, ANPR Cameras, Poles, Outdoor Cabinet boxes, Network switches & LIUs, LPUs in Main Outdoor Cabinet boxes, UPS & earthing excluded. It is mandatory to provide ANPR with Global Shutter for SVD system. (Attach item wise unpriced BOQ for all locations in Technical Bid) |  | Location | 0 | VEHANT | --
5 | SITC Outdoor IP 4MP Surveillance Bullet/ Box Camera with all accessories |  | Each | 5 | VIVOTEK - IB9387-EHTV-V3 | 0002D1B05722 0002D1B056EB 0002D1B056E7 0002D1B056F3 0002D1B056EE
6 | SITC of IP HD 2MP PTZ Camera with all accessories |  | Each | 1 | VIVOTEK - SD9368-EHL | 0002D1B01126
7 | SITC of Manageable Layer-2 Industrial grade Switch 8 Port PoE with surge protection |  | Each | 1 | DIS-F200-10PS | RVF2141000529
8 | SITC of Manageable Layer-2 Industrial grade Switch 24 Port PoE with surge protection |  | Each | 1 | DGS-F3400SI-AC | RV34143000012
9 | SITC of Industrial grade Local Processing Unit (LPU) |  | Each | 3 | VEHANT - VT-IPC-700 | IPCI7-12TH8G0324GN21164 IPCI7-12TH8G0324GN21160 IPCI7-12TH8G0324GN21169
10 | SITC of 1KVA Online UPS for Outdoor Junction (120 minutes battery backup) |  | Each | 2 | VERTIVE - 1KVA GXTMT+CX LB | 8312L2309500389 8312L2309500129
11 | SITC of 2KVA Online UPS for Outdoor Junction (120 minutes battery backup) |  | Each | 0 | VERTIVE - 2KVA GXTMT+ CX LB | --
12 | SITC of Outdoor Cabinet Box with Accessories |  | Each | 2 | WQ - INDIA | --
13 | SITC of Termination Box with Accessories |  | Each | 4 | WQ - INDIA | --
14 | SITC of 6.3Mtr Octagonal Pole with foundation (with 6mtr Single Arm) |  | Each | 2 | CUSTOMIZED | --
15 | SITC of 6.3Mtr Octagonal Pole with foundation (with 8mtr Single Arm) |  | Each | 2 |  | --
16 | SITC of 6.3Mtr Octagonal Pole with foundation (with 8mtr Double Arm) |  | Each | 0 |  | --
17 | SITC of 4 mtr long Pole with foundation |  | Each | 3 |  | --
18 | SITC of 8 mtr long Pole with foundation |  | Each | 1 |  | --
19 | SITC of 3 Core 1.5mm Armoured copper cables |  | Mtrs. | 359 | REPUTED | --
20 | SITC of 2 Core 10 sqmm Armoured aluminum cables |  | Mtrs. | 210 | REPUTED | --
21 | SITC of 6 Core Optical fibre cables (OFC) |  | Mtrs. | 210 | D - LINK | --
22 | SITC of Cat 6 Armoured cables |  | Mtrs. | 1270 | D - LINK | --
23 | SITC of PLB HDPE duct in trenchless laying |  | Mtrs. | 957 | REPUTED | --
24 | SITC of Electricity Meter with outdoor enclosure |  | Each | 0 |  | --
25 | SITC of G.I Rod earth System |  | Each | 10 |  | --
26 | SITC of Passive Components for field locations i.e. LIUs, Pigtail, OFC/Cat 6 patch cords etc. |  | Lots | 1 | D - LINK | --
[7 empty] | 0 | 0 | 0 | 0
Signature with Stamp |  |  |  | Signature with Stamp
Punjab Police Housing Corporation Limited |  |  |  | M/s Technosys Integrated Solutions Pvt. Ltd.
Date of Signature - |  |  |  | Date of Signature -
Name - |  |  |  | Name -
Designation - |  |  |  | Designation -